## Slide 1: SNS Beamline Experiment Control (Future)
Xihui Chen, Kay Kasemir
4/15/2013

## Slide 2: Overall Picture
Sample Environment Equipments
Sample Environment Equipments
Sample Environment
Detector
Instrument Events
Aggregator
Translation Service
Mantid
Nexus
Neutron Count, Histogram, ..
Service
Data Stream
GUI: CSS
GUI: CSS
GUI: CSS
EPICS IOCs
Scan Server
Channel Access
Experiment Control

## Slide 3: Building blocks
Motor
Camera
ICP
Misc.
Scan Server
Archive Engine
BOY
Data Browser
Scan UI
Autosave
IOCs
Services
User Interface
Alarm UI
Pydev, Git …
Alarm Server
Statistic
Server
Only choose the blocks that you need to build your own experiment control system

## Slide 4: A real example at imaging beamline
Raw 2D image
Integrated Motor Controls
Constant monitoring of data acquisition progress with estimate of duration of a 2D (kinetic) and 3D (CT) scans
2D and 3D scans options
Direct access
to data

## Slide 5: Automated Experiment Control – Scan System
“Scan” should be easy and robust
Graphical:
… or script:
Monitor, pause, resume, abort
Open Shutter
Wait for certain beam charge to accumulate
Step motor
X += 1
X < 10 ?
No
Yes
Set motor X = 0
Close Shutter
A scan example

## Slide 6: Why not EPICS Sequencer?
Compile, link, …
No GUI
No progress, pause, resume
Can do anything
Excellent for “permanent” automation, not for changing scan scenarios

## Slide 7: Why not Scripts (Python, Jython, Scala, …)?
No progress, pause, resume
Can do most anything
  Lost of Control
  Difficult
Error prone
Missing of common Scan functions
  Error checking and handling
  Simulation
“Works”, but…

## Slide 8: APS “Scan Engine”
Claude Saunders, Mitch McCuiston, Brian Tieman, Tim Mooney
“Scan Engine” executes submitted scans
Scan = List of robust commands
“Loop” command
Pause, Resume
CSS PV instead of new PV layer
Tight CSS GUI integration AND basic script access

## Slide 9: Scan Commands
Set
  Set device (PV) to a value.
  Optional wait for read-back, same or other PV, with timeout.
Wait
  Wait until a device (PV) reaches a certain value. Support condition: >, <, ==, >=, <=, increment-by, decrease-by. Optional timeout.
Loop
  Command that performs a loop, optional read-back and timeout.
Log
  Log data for plot in addition to variables used by Set, Wait, Loop
Delay
  Delay for a certain time. Discouraged. Use Wait.
Script
  Execute jython code. Use with care.
Custom commands can be added via Eclipse extension points.

## Slide 10: Experiment Control for EPICS
Sample Environment Equipments
Sample Environment Equipments
Sample Environment Equipment
GUI: CSS
Jython, Matlab, …
EPICS IOCs
Channel Access
Scan
Server
A scan
Client side:
Assemble scan
Submit scan
Monitor scan
Scan Server:
Keep the queue of Scans
Execute Scans

## Slide 11: Scan Server
CSS/Eclipse ‘headless’ application
‘PV’: EPICS, simulated
Telnet interface: Status, pause, resume, …
Java RMI interface: Submit, status, pause, resume, get data, …
  Scans transferred in XML format
  RMI = Java, Jython, Matlab, Scala, JRuby, …
RESTful web interface

## Slide 12: Scan Client
Can be anything as long as it can talk to Scan Server using the provided interfaces
  CSS
  Matlab
  Python
  LabVIEW
  Web browser
  …

## Slide 13: BOY Example
1. Configure
2. Start
3. Monitor

## Slide 14: Tabular OPI

## Slide 15: Scan Monitor
List Scans on Server
  Idle: To be executed next
  Running: With progress report
  Finished, Failed: Past runs

## Slide 16: Scan Plot
Plot variables used by scan
Get data from Running or Finished scans

## Slide 17: Scan Editor
Add commands
Set parameters
Open, save
“Undo”
Drag/drop commands or PV names (also as XML text)
Device PVs (or alias) can be picked from beamline-specific configuration

## Slide 18: Simulation Mode
Simulated PV changes
Estimates times

## Slide 19: Monitor, Adjust Live Scan
Active Command
Scan Info
Adjust properties
of live scan

## Slide 20: Scripted Scan
… or use ‘vi’, shell:
from scan_client import * help(scan) scan('Demo', ('xpos', 1, 10))
Jython editor, debugger
Jython console

## Slide 21: Matlab
Create Scan
Monitor
Analyze
(maybe submit follow-up scan)

## Slide 22: Performance
Command Execution
  80000 commands/second: Delay 0 sec, Set w/o read-back
  4500 commands/second: Set w/ read-back, Loop
Download scan into Editor
  10000 commands: 1 second
  50000 commands: 15 seconds
Stability
  Continuously running for two months so far.

## Slide 23: Web Interface Development

## Slide 24: Beamline Setup
Network
Version Control, Issue Tracking, Wiki
Directory Layout
IOC Control

## Slide 25: Network
Beam lines are as autonomous as possible
  Beam line X cannot read/write beam line Y
Instrument hall coordinator, SNS/HFIR personnel, visitors on ORNL network can read most beam line information
  For any beam line
World may be able to read some beam line information
Limited, controlled write access from ORNL network
  ssh access for config, maintainance
  Selected actions may be allowed via web server

## Slide 26
Server

## Slide 27: Version Control - Git
http://git-scm.com/
Distributed Version Control System
Lighting Fast
Easy and powerful in branching and merging
Nice CSS Integration
  Commit
  Pull/Push
  Compare

## Slide 28: Git Repositories
Shared repositories
  epics
    Including base, support modules, extensions
  css
    Including CSS, ScanServer, Archive Engine, Alarm Server, settings.ini
  share
    Including shared OPI files , scan files, images ...
Beamline specific repositories
  bl1
    bl1 related IOC applications, configuration files, OPI files, scan files…
  bl2
  bl3
  …

## Slide 29: wiki and issue tracking
Trac
  http://trac.edgewall.org/
  Integrated wiki, issue tracking system for software development
  Integrate with git to browse source, tracking changes…
  Open source project

## Slide 30: wiki
Allow all members to edit/browse document online

## Slide 31: Issue Tracking
Each issue is a ticket
  Owner
  Type
  Status

## Slide 32: Browse Source
Browse source in repositories

## Slide 33: Tracking Source Changes

## Slide 34: Directory Layout
A unified directory layout on every beamline
  /home/controls/
    Root of all (slow) controls files
  /home/controls/{beamline}/
    Beam-line-specific EPICS, CSS and OPI files
  /home/controls/share/
    Shared operator interface files
  /home/controls/css/
    CSS binaries, shared CSS configuration files
  /home/controls/epics/
    EPICS base, device support, extensions
  /home/controls/var/
    Variable area for EPICS IOCs (autosave files, ...)

## Slide 35: Directory Layout
IOC applications
Beamline specific environment setup file
General epics environment setup file
Support modules, such as areaDetector, motor records
Extensions, such as ca gateway, ImageJ…
Beamline specific CSS, scan server settings,
startup scripts…
Beamline specific configuration file

## Slide 36: Environment setup
Common setup - epics/R3.14.12.2/setup.profile
Beamline specific setup – bl99/setup.profile
export EPICS_BASE=${EPICS}/base
…
export EPICS_HOST_ARCH=`"${EPICS_BASE}"/startup/EpicsHostArch.pl`
…
export JAVA_HOME=/usr/lib/jvm/java-1.7.0-sun.x86_64
export PATH="${JAVA_HOME}/bin:$PATH"
…
umask 0002
…
#source common setup
source /home/controls/epics/R3.14.12.2/setup.profile
#specific IP address for each beamline
export EPICS_CA_ADDR_LIST="192.168.1.255“
export EPICS_CAS_INTF_ADDR_LIST="192.168.1.101“
…

## Slide 37: Beamline Configuration file – bl1/beamline.xml
Required (soft) IOCs
  Used by separate tools to start/stop as required
Scan System Aliases
  Available within scans
Simulation Info
  Slew rates
DAQ info
  Which channels to log with neutron data?

## Slide 38: Soft IOC control –iocs.py
Multiple soft IOCs on server, we need to
  Start, Stop IOCs
  Check IOCs Status
  Connect to IOC console
$ iocs.py -h
Usage: iocs.py [options] status | update | start | stop | console | log {IOC name}
Options:
-h, --help show this help message and exit
-c CONFIG_FILE Configuration file (default: beamline.xml)
Command:
status - Display status for all IOCs
update - Assert that all 'active' IOCs are started, others stopped
start - Start all IOCs that are not running
stop - Stop all IOCs that are found running
console - Open telnet connection to IOC's console (requires specific IOC name)
log - Dump the IOC console log
Command is applied to all IOCs unless specific IOCs are listed

## Slide 39
Thank you!
Example setup can be downloaded from
http://ics-web.sns.ornl.gov/share/xihui/ihepTraining/