## Slide 1: EPICS IOC Database Practice

## Slide 2: Create my first IOC
ssh 192.168.37.197
$cd ~
$mkdir epicsPractice
$cd epicsPractice
$mkdir myfirstIOC
$cd myfirstIOC
$makeBaseApp.pl -t ioc myfirstIOC
makeBaseApp.pl -i -t ioc myfirstIOC
$make

## Slide 3: Create database file
$cd myfirstIOCApp/Db
$vi myfirstDb.db
  Add these lines:
$vi Makefile
  Add this line after #DB+=xxx.db:
$cd ../../
$make
record(calc, "$(S):random")
{
field(SCAN, "1 second")
field(INPA, "10")
field(CALC, "RNDM*A")
}
DB += myfirstDb.db

## Slide 4: Run IOC
$cd iocBoot/iocmyfirstIOC/
$vi st.cmd
  Modify this line:
    #dbLoadRecords("db/xxx.db","user=chenxhHost")
  To
    dbLoadRecords("db/myfirstDb.db","S=xihuiTest")
    You can replace “xihuiTest” to your name
$chmod +x st.cmd
$./st.cmd

## Slide 5: Play with EPICS Console
epics>dbl
epics>dbpr xihuiTest:random 10
epics>help

## Slide 6: Talk to EPICS PV
Open another shell
$camonitor xihuiTest:random
  You should see something like this
xihuiTest:random 2014-03-04 14:41:17.465704 9.29366
xihuiTest:random 2014-03-04 14:41:18.465780 8.88731
xihuiTest:random 2014-03-04 14:41:19.465850 5.96567
xihuiTest:random 2014-03-04 14:41:20.465925 7.15236

## Slide 7: Exercise
Create a BOY OPI to read this PV